## Slide 1: IRS Form 8823 & Ten Common Physical Plant Inspection Findings
Spectrum Compliance Continuum 2022
By: Tina Clary
Notes: MC

## Slide 2: Issue #10
GFI (Ground fault interrupters) Inoperable
  GFI does not function. This is an automatic non-life threating health and safety concern

## Slide 3: Issue #9
Overgrown vegetation
  Overgrown/Penetrating Vegetation
    Plant life has spread to unacceptable areas, unintended surfaces, or has grown in areas where it was not intended to grow

## Slide 4: Issue #8
Fire extinguisher not up to date
  Missing/Damaged/Expired Extinguishers
    A portable fire extinguisher is not where it should be, is damaged, or the extinguisher certification has expired. Included missing/damaged fire hoses where there are fire cabinets

## Slide 5: Issue #7
Driveway cracking
  Cracks/Settlement/Heaving/Loose Materials/Potholes
    There are visible faults in the pavement longitudinal, lateral, alligator, etc. The pavement sinks or rises because of the failure of the sub-base materials

## Slide 6: Issue #6
Cracked window pane
Cracked/Broken/Missing panes
  A glass pane is cracked, broken, or missing from the window sash
Inoperable window
  Inoperable/Not lockable
    A window can not be opened or closed because of damage to the frame, faulty hardware, or other cause

## Slide 7: Issue #5
Missing drain stop/Inoperable drain stop
  Lavatory/Sink damaged/Missing damaged/missing
    A stopper is missing/unhooked
Notes: BM

## Slide 8: Issue #4
Water damage/ceiling
  Water Stains/Water Damage/Mold/Mildew
    Evidence of water infiltration, mold, or mildew that may have been caused by saturation or surface failure
Notes: BM

## Slide 9: Issue #3 Health & Safety
Fire rated doors do not engage in a positive latch
  Damaged Hardware/Locks
    Door panic hardware does not function properly
    -OR-
    Entry door or fire/emergency door does not function properly or cannot be locked because of damage to the doors hardware
Notes: MC

## Slide 10: Issue #2 Health & Safety
Auxiliary lights are inoperable
  Missing Exit Signs
    Exit signs that clearly identify all emergency exits are missing
    -OR-
    There is not illumination in the area of the signs
Notes: MC

## Slide 11: Issue #1 Exigent Health & Safety
Blocked egress
  Emergency/fire exits blocked/unusable. If the means of escape/entry are designed for egress they must be unobstructed
    If a building has multiple floors and is not sprinkled floors 1-3 must have 2 means of egress and floors 4 and up must have 1
    The most common obstruction is hasp lock. Also found can be furniture and tenant belongings

## Slide 12: Why do we issue 8823’s for Physical Plant Inspections?
8823 Guide Chapter 6 category 11c.

## Slide 13: How to clear reports
All items need to be completed before sending to MaineHousing
All information should be contained within one email
An extension before the due date can be requested if all items can’t be addressed via email
It’s to the properties advantage to clear all findings so that 8823’s are issued as out of compliance/compliance corrected

## Slide 14: Questions?